## Summary
Heat pump capacity | 8111 | W
Room temperature | 20
Design temperature | -2
dT | 22
Heat loss parameter | 368.6818 | W/K
Degree days | 1800
Annual heat requirement | 15927.0545 | kWh
Factor | 80%
Actual heat requirement | 12741.6436 | kWh
Electricity tariff | 0.18 | £/kWh
Flow temperature | Rad cost | Electric kWh | Annual cost | Annual saving | Payback years | Samsung HQT | Vaillant | Reillo
55 | 127.85 | 3957.0322 | 712.2658 | 0 | 0 | 3.22 | 3.39 | 3.37
53 | 127.85 | 3814.8634 | 686.6754 | 25.5904 | 4.996 | 3.34 | 3.49
51 | 127.85 | 3671.9434 | 660.9498 | 51.316 | 2.4914 | 3.47 | 3.6
49 | 332.46 | 3549.2044 | 638.8568 | 73.409 | 4.5289 | 3.59 | 3.7
47 | 346.19 | 3425.173 | 616.5311 | 95.7346 | 3.6161 | 3.72 | 3.8
45 | 771.34 | 3370.8052 | 606.7449 | 105.5209 | 7.3098 | 3.78 | 3.91
43 | 837.54 | 3217.5868 | 579.1656 | 133.1002 | 6.2926 | 3.96 | 4
41 | 911.67 | 3115.3163 | 560.7569 | 151.5089 | 6.0173 | 4.09 | 4.09
39 | 1115.9 | 3026.5187 | 544.7734 | 167.4924 | 6.6624 | 4.21 | 4.18
37 | 1706.75 | 2942.6429 | 529.6757 | 182.5901 | 9.3474 | 4.33 | 4.27
35 | 2504.9 | 2856.8708 | 514.2367 | 198.0291 | 12.6492 | 4.46 | 4.36 | 5.03
33 | 4849.54