## Summary
Copyright Philip Haile & Transition Bath 2024

## Scenarios
Flow temperature | Result row | Labour | Radiators | Total | Watts | Percent capacity | COP | Electric kWh | Electric cost | Saving | Additional install cost | Payback
65 | 7 | 0 | 0 | 0 | 13871.2192 | 170.4% | 3.01 | 5933.2061 | 1423.9695
50 | 32 | 380 | 257.86 | 637.86 | 10404.4174 | 127.8% | 3.92 | 4555.8547 | 1093.4051 | 0 | 0
48 | 57 | 475 | 370.07 | 845.07 | 9858.9866 | 121.1% | 4.03 | 4431.5014 | 1063.5603 | 29.8448 | 207.21 | 6.9429
46 | 82 | 570 | 643.19 | 1213.19 | 9662.9755 | 118.7% | 4.14 | 4313.7561 | 1035.3015 | 58.1037 | 575.33 | 9.9018
44 | 107 | 570 | 839.28 | 1409.28 | 9356.8637 | 114.9% | 4.25 | 4202.106 | 1008.5054 | 84.8997 | 771.42 | 9.0863
42 | 132 | 665 | 1081.38 | 1746.38 | 8911.4896 | 109.5% | 4.36 | 4096.0896 | 983.0615 | 110.3436 | 1108.52 | 10.0461
40 | 157 | 855 | 1618.18 | 2473.18 | 8603.3957 | 105.7% | 4.47 | 3995.2909 | 958.8698 | 134.5353 | 1835.32 | 13.6419
38 | 182 | 950 | 2043.28 | 2993.28 | 8576.502 | 105.4% | 4.58 | 3899.3342 | 935.8402 | 157.5649 | 2355.42 | 14.9489
36 | 207 | 950 | 2751.3 | 3701.3 | 8602.4782 | 105.7% | 4.69 | 3807.8786 | 913.8909 | 179.5143 | 3063.44 | 17.0652
Flow temperature | 46

## RadiatorDatabase
Radiator Key | Type | Depth | Height | Length | N | W @ dt 50 | £
ModernxK2x1000x600 | Modern | K2 | 600 | 1000 | 1.3 | 1732 | 99.65
ModernxK2x1000x700 | Modern | K2 | 700 | 1000 | 1.3 | 1961 | 154.36
ModernxK2x1100x600 | Modern | K2 | 600 | 1100 | 1.3 | 1905 | 109.61
ModernxK2x1100x700 | Modern | K2 | 700 | 1100 | 1.3 | 2157 | 181.9
ModernxK2x1200x600 | Modern | K2 | 600 | 1200 | 1.3 | 2078 | 119.57
ModernxK2x1200x700 | Modern | K2 | 700 | 1200 | 1.3 | 2353 | 198.48
ModernxK2x1400x600 | Modern | K2 | 600 | 1400 | 1.3 | 2425 | 154.06
ModernxK2x1400x700 | Modern | K2 | 700 | 1400 | 1.3 | 2745 | 255.64
ModernxK2x1200x450 | Modern | K2 | 450 | 1200 | 1.3 | 1645 | 109.61
ModernxK2x1000x450 | Modern | K2 | 450 | 1000 | 1.3 | 1371 | 91.36
ModernxK2x1100x450 | Modern | K2 | 450 | 1100 | 1.3 | 1508 | 100.52
ModernxK2x1600x600 | Modern | K2 | 600 | 1600 | 1.3 | 2771 | 176.02
ModernxK2x900x450 | Modern | K2 | 450 | 900 | 1.3 | 1234 | 85.67
ModernxK2x1600x700 | Modern | K2 | 700 | 1600 | 1.3 | 3138 | 292.18
ModernxK2x800x450 | Modern | K2 | 450 | 800 | 1.3 | 1097 | 79.19
ModernxK1x700x600 | Modern | K1 | 600 | 700 | 1.3 | 686 | 49.78
ModernxK1x900x600 | Modern | K1 | 600 | 900 | 1.3 | 882 | 64.02
ModernxK1x1200x600 | Modern | K1 | 600 | 1200 | 1.3 | 1176 | 85.36
ModernxK1x600x600 | Modern | K1 | 600 | 600 | 1.3 | 588 | 42.69
ModernxK1x1400x600 | Modern | K1 | 600 | 1400 | 1.3 | 1372 | 99.61
ModernxK1x1600x600 | Modern | K1 | 600 | 1600 | 1.3 | 1568 | 113.84
ModernxK1x1100x600 | Modern | K1 | 600 | 1100 | 1.3 | 1078 | 78.27
ModernxK1x800x600 | Modern | K1 | 600 | 800 | 1.3 | 784 | 56.94
ModernxK1x1000x600 | Modern | K1 | 600 | 1000 | 1.3 | 980 | 71.74
ModernxK2x1600x450 | Modern | K2 | 450 | 1600 | 1.3 | 2194 | 161.37
ModernxK2x1800x450 | Modern | K2 | 450 | 1800 | 1.3 | 2468 | 181.58
ModernxK2x1400x450 | Modern | K2 | 450 | 1400 | 1.3 | 1919 | 141.21
ModernxK2x2000x450 | Modern | K2 | 450 | 2000 | 1.3 | 2742 | 209.8
ModernxK2x700x450 | Modern | K2 | 450 | 700 | 1.3 | 960 | 74.6
ModernxK2x1800x600 | Modern | K2 | 600 | 1800 | 1.3 | 3118 | 198.04
ModernxK2x1800x700 | Modern | K2 | 700 | 1800 | 1.3 | 3530 | 328.68
ModernxK1x1800x600 | Modern | K1 | 600 | 1800 | 1.3 | 1764 | 139.06
ModernxK1x500x600 | Modern | K1 | 600 | 500 | 1.3 | 490 | 40.66
ModernxK2x600x450 | Modern | K2 | 450 | 600 | 1.3 | 823 | 68.5
ModernxK2x2000x600 | Modern | K2 | 600 | 2000 | 1.3 | 3464 | 303.12
ModernxK2x2000x700 | Modern | K2 | 700 | 2000 | 1.3 | 3922 | 379.84
ModernxK2x2200x600 | Modern | K2 | 600 | 2200 | 1.3 | 3810 | 378.33
ModernxK2x2200x450 | Modern | K2 | 450 | 2200 | 1.3 | 3016 | 257.01
ModernxK2x2400x450 | Modern | K2 | 450 | 2400 | 1.3 | 3290 | 280.38
ModernxK1x1100x450 | Modern | K1 | 450 | 1100 | 1.3 | 832 | 71.74
ModernxK1x800x450 | Modern | K1 | 450 | 800 | 1.3 | 605 | 52.17
ModernxK1x1600x450 | Modern | K1 | 450 | 1600 | 1.3 | 1210 | 104.34
ModernxK1x600x450 | Modern | K1 | 450 | 600 | 1.3 | 454 | 39.15
ModernxK1x1000x450 | Modern | K1 | 450 | 1000 | 1.3 | 756 | 65.2
ModernxK1x1400x450 | Modern | K1 | 450 | 1400 | 1.3 | 1058 | 91.29
ModernxK1x900x450 | Modern | K1 | 450 | 900 | 1.3 | 680 | 58.68
ModernxK1x700x450 | Modern | K1 | 450 | 700 | 1.3 | 529 | 45.65
ModernxK1x1200x450 | Modern | K1 | 450 | 1200 | 1.3 | 907 | 78.27
ModernxK2x1000x300 | Modern | K2 | 300 | 1000 | 1.3 | 982 | 85.18
ModernxK2x2400x600 | Modern | K2 | 600 | 2400 | 1.3 | 4157 | 412.94
ModernxK2x400x600 | Modern | K2 | 600 | 400 | 1.3 | 693 | 58.14
ModernxK2x1500x300 | Modern | K2 | 300 | 1500 | 1.3 | 1473 | 130.91
ModernxK2x500x450 | Modern | K2 | 450 | 500 | 1.3 | 686 | 61.83
ModernxK2x400x700 | Modern | K2 | 700 | 400 | 1.3 | 784 | 96.46
ModernxK2x2000x300 | Modern | K2 | 300 | 2000 | 1.3 | 1964 | 181.53
ModernxK2x500x600 | Modern | K2 | 600 | 500 | 1.3 | 866 | 67.49
ModernxK2x500x700 | Modern | K2 | 700 | 500 | 1.3 | 981 | 111.95
ModernxK2x600x600 | Modern | K2 | 600 | 600 | 1.3 | 1039 | 74.74
ModernxK1x400x600 | Modern | K1 | 600 | 400 | 1.3 | 392 | 36.62
ModernxP+x1000x300 | Modern | P+ | 300 | 1000 | 1.3 | 745 | 71.74
ModernxK2x600x700 | Modern | K2 | 700 | 600 | 1.3 | 1177 | 124.02
ModernxK2x400x450 | Modern | K2 | 450 | 400 | 1.3 | 548 | 53.29
ModernxK2x700x600 | Modern | K2 | 600 | 700 | 1.3 | 1212 | 81.84
ModernxK3x1200x500 | Modern | K3 | 500 | 1200 | 1.3 | 2467 | 243
ModernxP+x1000x700 | Modern | P+ | 700 | 1000 | 1.3 | 1530 | 150.74
ModernxK3x1100x600 | Modern | K3 | 600 | 1100 | 1.3 | 2628 | 259
ModernxK1x500x450 | Modern | K1 | 450 | 500 | 1.3 | 378 | 37.26
ModernxK3x1100x500 | Modern | K3 | 500 | 1100 | 1.3 | 2262 | 223
ModernxK3x1200x600 | Modern | K3 | 600 | 1200 | 1.3 | 2867 | 283
ModernxK3x1000x500 | Modern | K3 | 500 | 1000 | 1.3 | 2056 | 203
ModernxK3x1000x600 | Modern | K3 | 600 | 1000 | 1.3 | 2389 | 236
ModernxP+x1200x700 | Modern | P+ | 700 | 1200 | 1.3 | 1836 | 181.86
ModernxK2x700x700 | Modern | K2 | 700 | 700 | 1.3 | 1373 | 135.04
ModernxK2x800x600 | Modern | K2 | 600 | 800 | 1.3 | 1386 | 86.36
ModernxK1x2000x600 | Modern | K1 | 600 | 2000 | 1.3 | 1960 | 195.09
ModernxK2x500x300 | Modern | K2 | 300 | 500 | 1.3 | 491 | 48.99
ModernxK1x1500x300 | Modern | K1 | 300 | 1500 | 1.3 | 764 | 76.23
ModernxP+x900x700 | Modern | P+ | 700 | 900 | 1.3 | 1377 | 137.73
ModernxP+x800x700 | Modern | P+ | 700 | 800 | 1.3 | 1224 | 124.55
ModernxK3x900x500 | Modern | K3 | 500 | 900 | 1.3 | 1850 | 190
ModernxK3x900x600 | Modern | K3 | 600 | 900 | 1.3 | 2150 | 221
ModernxP+x700x700 | Modern | P+ | 700 | 700 | 1.3 | 1071 | 112.74
ModernxK1x1000x300 | Modern | K1 | 300 | 1000 | 1.3 | 509 | 53.62
ModernxK2x800x700 | Modern | K2 | 700 | 800 | 1.3 | 1569 | 143.31
ModernxK1x800x700 | Modern | K1 | 700 | 800 | 1.3 | 894 | 94.46
ModernxK1x1100x700 | Modern | K1 | 700 | 1100 | 1.3 | 1229 | 129.87
ModernxK1x700x700 | Modern | K1 | 700 | 700 | 1.3 | 782 | 82.64
ModernxK1x1000x700 | Modern | K1 | 700 | 1000 | 1.3 | 1117 | 118.06
ModernxK1x600x700 | Modern | K1 | 700 | 600 | 1.3 | 670 | 70.82
ModernxK1x1400x700 | Modern | K1 | 700 | 1400 | 1.3 | 1564 | 165.32
ModernxK1x1600x700 | Modern | K1 | 700 | 1600 | 1.3 | 1787 | 188.91
ModernxK1x1200x700 | Modern | K1 | 700 | 1200 | 1.3 | 1340 | 141.69
ModernxK1x900x700 | Modern | K1 | 700 | 900 | 1.3 | 1005 | 106.28
ModernxP+x1400x700 | Modern | P+ | 700 | 1400 | 1.3 | 2142 | 227.63
ModernxK3x800x600 | Modern | K3 | 600 | 800 | 1.3 | 1911 | 204
ModernxK3x800x500 | Modern | K3 | 500 | 800 | 1.3 | 1645 | 176
ModernxK1x2400x600 | Modern | K1 | 600 | 2400 | 1.3 | 2352 | 253.72
ModernxK1x2200x600 | Modern | K1 | 600 | 2200 | 1.3 | 2156 | 232.65
ModernxP+x1100x700 | Modern | P+ | 700 | 1100 | 1.3 | 1683 | 181.86
ModernxK1x2400x450 | Modern | K1 | 450 | 2400 | 1.3 | 1814 | 196.23
ModernxP+x600x700 | Modern | P+ | 700 | 600 | 1.3 | 918 | 99.86
ModernxK3x1800x500 | Modern | K3 | 500 | 1800 | 1.3 | 3701 | 403
ModernxK3x1800x600 | Modern | K3 | 600 | 1800 | 1.3 | 4300 | 469
ModernxK3x1400x500 | Modern | K3 | 500 | 1400 | 1.3 | 2878 | 314
ModernxK3x1600x600 | Modern | K3 | 600 | 1600 | 1.3 | 3822 | 417
ModernxK3x1400x600 | Modern | K3 | 600 | 1400 | 1.3 | 3345 | 365
ModernxK3x1600x500 | Modern | K3 | 500 | 1600 | 1.3 | 3290 | 359
ModernxK1x400x450 | Modern | K1 | 450 | 400 | 1.3 | 302 | 33.53
ModernxK1x1800x450 | Modern | K1 | 450 | 1800 | 1.3 | 1361 | 154.74
ModernxK2x900x600 | Modern | K2 | 600 | 900 | 1.3 | 1559 | 93.42
ModernxK1x1800x700 | Modern | K1 | 700 | 1800 | 1.3 | 2011 | 230.73
ModernxK3x700x500 | Modern | K3 | 500 | 700 | 1.3 | 1439 | 166
ModernxK3x700x600 | Modern | K3 | 600 | 700 | 1.3 | 1672 | 193
ModernxK1x2000x450 | Modern | K1 | 450 | 2000 | 1.3 | 1512 | 175.38
ModernxP+x1500x300 | Modern | P+ | 300 | 1500 | 1.3 | 1118 | 130.16
ModernxP+x500x300 | Modern | P+ | 300 | 500 | 1.3 | 373 | 44.15
ModernxK3x1100x700 | Modern | K3 | 700 | 1100 | 1.3 | 2983 | 355
ModernxK3x1000x700 | Modern | K3 | 700 | 1000 | 1.3 | 2712 | 323
ModernxK3x1200x700 | Modern | K3 | 700 | 1200 | 1.3 | 3254 | 388
ModernxP+x400x700 | Modern | P+ | 700 | 400 | 1.3 | 612 | 72.98
ModernxK1x2000x700 | Modern | K1 | 700 | 2000 | 1.3 | 2234 | 266.62
ModernxK1x500x700 | Modern | K1 | 700 | 500 | 1.3 | 559 | 67.47
ModernxP+x500x700 | Modern | P+ | 700 | 500 | 1.3 | 765 | 92.68
ModernxK2x900x700 | Modern | K2 | 700 | 900 | 1.3 | 1765 | 155.07
ModernxK3x600x600 | Modern | K3 | 600 | 600 | 1.3 | 1433 | 177
ModernxK3x600x500 | Modern | K3 | 500 | 600 | 1.3 | 1234 | 152.51
ModernxK3x900x700 | Modern | K3 | 700 | 900 | 1.3 | 2441 | 303
ModernxK1x500x300 | Modern | K1 | 300 | 500 | 1.3 | 255 | 32.85
ModernxK3x800x700 | Modern | K3 | 700 | 800 | 1.3 | 2170 | 280
ModernxK1x2200x450 | Modern | K1 | 450 | 2200 | 1.3 | 1663 | 218.4
ModernxK3x1600x700 | Modern | K3 | 700 | 1600 | 1.3 | 4339 | 571
ModernxK3x1400x700 | Modern | K3 | 700 | 1400 | 1.3 | 3797 | 500
ModernxK3x1800x700 | Modern | K3 | 700 | 1800 | 1.3 | 4882 | 643
ModernxK3x500x600 | Modern | K3 | 600 | 500 | 1.3 | 1195 | 160
ModernxK1x400x700 | Modern | K1 | 700 | 400 | 1.3 | 447 | 60.71
ModernxK3x2000x700 | Modern | K3 | 700 | 2000 | 1.3 | 5424 | 743
ModernxK3x700x700 | Modern | K3 | 700 | 700 | 1.3 | 1898 | 264
ModernxK3x400x600 | Modern | K3 | 600 | 400 | 1.3 | 956 | 137
ModernxK3x600x700 | Modern | K3 | 700 | 600 | 1.3 | 1627 | 242
ModernxK3x1000x300 | Modern | K3 | 300 | 1000 | 1.3 | 1349 | 201
ModernxK3x2400x500 | Modern | K3 | 500 | 2400 | 1.3 | 4934 | 741
ModernxK3x2000x600 | Modern | K3 | 600 | 2000 | 1.3 | 4778 | 718
ModernxK3x2000x500 | Modern | K3 | 500 | 2000 | 1.3 | 4112 | 618
ModernxK3x2400x600 | Modern | K3 | 600 | 2400 | 1.3 | 5734 | 862
ModernxK3x2000x300 | Modern | K3 | 300 | 2000 | 1.3 | 2698 | 428
ModernxK3x500x700 | Modern | K3 | 700 | 500 | 1.3 | 1356 | 219

## RadiatorLocations
Room Name | Location | Length | Height | Type | Depth | Labour Cost | Existing Radiator | Status | Database check | Status
Lounge | Loc1 | 1800 | 600 | Modern | K3 | 95 | ModernxK2x900x600 | Replace&Move | ModernxK2x900x600 | Replace
Lounge | Loc2 | 2000 | 700 | Modern | K3 | 95 | ModernxK2x900x600 | Retain | ModernxK2x900x600 | Replace&Move
Dining | Loc1 | 1600 | 900 | Modern | K3 | 95 | ModernxK2x1200x600 | Retain | ModernxK2x1200x600 | Retain
Kitchen | Loc1 | 1700 | 700 | Modern | K3 | 95 | ModernxK2x1200x600 | Retain | ModernxK2x1200x600 | Available Space
Utility | Loc1 | 1000 | 700 | Modern | K3 | 95 | ModernxK1x600x700 | Retain | ModernxK1x600x700
Hall | Loc1 | 1500 | 600 | Modern | K3 | 95 | ModernxK2x1000x600 | Retain | ModernxK2x1000x600
Hall | Loc2 | 1000 | 600 | Modern | K3 | 95 | ModernxK1x600x700 | Retain | ModernxK1x600x700
Bath | Loc1 | 1000 | 600 | Modern | K3 | 95 | ModernxK1x900x700 | Retain | ModernxK1x900x700
Bed SW | Loc1 | 1800 | 700 | Modern | K3 | 95 | ModernxK2x1000x600 | Retain | ModernxK2x1000x600
Bed NW | Loc1 | 1800 | 700 | Modern | K3 | 95 | ModernxK2x700x600 | Retain | ModernxK2x700x600
Bed N | Loc1 | 1800 | 700 | Modern | K3 | 95 | ModernxK1x800x600 | Retain | ModernxK1x800x600
Main bed | Loc1 | 1000 | 600 | Modern | K3 | 95 | ModernxK1x900x600 | Retain | ModernxK1x900x600
Ensuite | Loc1 | 1000 | 600 | Modern | K3 | 95 | ModernxK1x600x600 | Retain | ModernxK1x600x600

## CalcResults
Libraries | 0 | # these python objects need to be kept on this page otherwise dependency gets lost after save and reload (Excel bug)
Radiators | 0
Rooms | 0
Home | 0
Design Temperature | -2
Load Tables | #VALUE!
65 | Room Name | Location name | Originally | Proposed Radiator | £ | Labour Cost | Status | Watts
| Lounge | Loc1 | ModernxK2x900x600 | ModernxK2x900x600 | 0 | 0 | Original | 1398.8472
| Lounge | Loc2 | ModernxK2x900x600 | ModernxK2x900x600 | 0 | 0 | Original | 1398.8472
| Dining | Loc1 | ModernxK2x1200x600 | ModernxK2x1200x600 | 0 | 0 | Original | 1864.5315
| Kitchen | Loc1 | ModernxK2x1200x600 | ModernxK2x1200x600 | 0 | 0 | Original | 2024.1348
| Hall | Loc1 | ModernxK2x1000x600 | 0 | 0 | 0 | Removed | 0
| Hall | Loc2 | ModernxK1x600x700 | ModernxK1x600x700 | 0 | 0 | Original | 652.6325
| Utility | Loc1 | ModernxK1x600x700 | ModernxK1x600x700 | 0 | 0 | Original | 652.6325
| Main bed | Loc1 | ModernxK1x900x600 | ModernxK1x900x600 | 0 | 0 | Original | 859.1371
| Bed N | Loc1 | ModernxK1x800x600 | ModernxK1x800x600 | 0 | 0 | Original | 763.6774
| Bed NW | Loc1 | ModernxK2x700x600 | ModernxK2x700x600 | 0 | 0 | Original | 1180.583
| Bed SW | Loc1 | ModernxK2x1000x600 | ModernxK2x1000x600 | 0 | 0 | Original | 1687.1037
| Ensuite | Loc1 | ModernxK1x600x600 | ModernxK1x600x600 | 0 | 0 | Original | 512.7346
| Bath | Loc1 | ModernxK1x900x700 | ModernxK1x900x700 | 0 | 0 | Original | 876.3575
50 | Room Name | Location name | Originally | Proposed Radiator | £ | Labour Cost | Status | Watts
| Lounge | Loc1 | ModernxK2x900x600 | ModernxK2x900x600 | 0 | 0 | Original | 837.4431
| Lounge | Loc2 | ModernxK2x900x600 | ModernxK2x1600x600 | 176.02 | 95 | Replaced | 1488.4893
| Dining | Loc1 | ModernxK2x1200x600 | ModernxK2x1200x600 | 0 | 0 | Original | 1116.2327
| Kitchen | Loc1 | ModernxK2x1200x600 | ModernxK2x1200x600 | 0 | 0 | Original | 1258.6562
| Hall | Loc1 | ModernxK2x1000x600 | ModernxK2x1000x600 | 0 | 0 | Original | 1049.0821
| Hall | Loc2 | ModernxK1x600x700 | 0 | 0 | 0 | Removed | 0
| Utility | Loc1 | ModernxK1x600x700 | ModernxK1x600x700 | 0 | 0 | Original | 405.8227
| Main bed | Loc1 | ModernxK1x900x600 | ModernxK2x700x600 | 81.84 | 95 | Replaced | 734.1152
| Bed N | Loc1 | ModernxK1x800x600 | ModernxK1x800x600 | 0 | 0 | Original | 474.8732
| Bed NW | Loc1 | ModernxK2x700x600 | ModernxK2x700x600 | 0 | 0 | Original | 734.1152
| Bed SW | Loc1 | ModernxK2x1000x600 | ModernxK2x1000x600 | 0 | 0 | Original | 1049.0821
| Ensuite | Loc1 | ModernxK1x600x600 | ModernxK1x900x600 | 0 | 95 | Moved:Main bed:Loc1 | 454.0098
| Bath | Loc1 | ModernxK1x900x700 | ModernxK2x900x600 | 0 | 95 | Moved:Lounge:Loc2 | 802.4957
48 | Room Name | Location name | Originally | Proposed Radiator | £ | Labour Cost | Status | Watts
| Lounge | Loc1 | ModernxK2x900x600 | ModernxK2x900x600 | 0 | 0 | Original | 767.8962
| Lounge | Loc2 | ModernxK2x900x600 | ModernxK2x1800x600 | 198.04 | 95 | Replaced | 1535.7924
| Dining | Loc1 | ModernxK2x1200x600 | ModernxK2x1200x600 | 0 | 0 | Original | 1023.5332
| Kitchen | Loc1 | ModernxK2x1200x600 | ModernxK2x1200x600 | 0 | 0 | Original | 1163.2673
| Hall | Loc1 | ModernxK2x1000x600 | ModernxK2x1000x600 | 0 | 0 | Original | 969.576
| Hall | Loc2 | ModernxK1x600x700 | 0 | 0 | 0 | Removed | 0
| Utility | Loc1 | ModernxK1x600x700 | ModernxK1x600x700 | 0 | 0 | Original | 375.0669
| Main bed | Loc1 | ModernxK1x900x600 | ModernxK2x900x450 | 85.67 | 95 | Replaced | 690.7949
| Bed N | Loc1 | ModernxK1x800x600 | ModernxK1x800x600 | 0 | 0 | Original | 438.8843
| Bed NW | Loc1 | ModernxK2x700x600 | ModernxK2x800x600 | 86.36 | 95 | Replaced | 775.8847
| Bed SW | Loc1 | ModernxK2x1000x600 | ModernxK2x1000x600 | 0 | 0 | Original | 969.576
| Ensuite | Loc1 | ModernxK1x600x600 | ModernxK1x900x600 | 0 | 95 | Moved:Main bed:Loc1 | 415.062
| Bath | Loc1 | ModernxK1x900x700 | ModernxK2x900x600 | 0 | 95 | Moved:Lounge:Loc2 | 733.6528
46 | Room Name | Location name | Originally | Proposed Radiator | £ | Labour Cost | Status | Watts
| Lounge | Loc1 | ModernxK2x900x600 | ModernxK2x900x600 | 0 | 0 | Original | 699.7743
| Lounge | Loc2 | ModernxK2x900x600 | ModernxK2x2000x600 | 303.12 | 95 | Replaced | 1554.8546
| Dining | Loc1 | ModernxK2x1200x600 | ModernxK2x1400x600 | 154.06 | 95 | Replaced | 1088.488
| Kitchen | Loc1 | ModernxK2x1200x600 | ModernxK2x1200x600 | 0 | 0 | Original | 1069.6512
| Hall | Loc1 | ModernxK2x1000x600 | ModernxK2x1000x600 | 0 | 0 | Original | 891.5476
| Hall | Loc2 | ModernxK1x600x700 | 0 | 0 | 0 | Removed | 0
| Utility | Loc1 | ModernxK1x600x700 | ModernxK1x600x700 | 0 | 0 | Original | 344.8827
| Main bed | Loc1 | ModernxK1x900x600 | ModernxK2x800x600 | 86.36 | 95 | Replaced | 713.4439
| Bed N | Loc1 | ModernxK1x800x600 | ModernxK1x800x600 | 0 | 0 | Original | 403.5643
| Bed NW | Loc1 | ModernxK2x700x600 | ModernxK2x1200x600 | 0 | 95 | Moved:Dining:Loc1 | 888.0755
| Bed SW | Loc1 | ModernxK2x1000x600 | ModernxK2x1000x600 | 0 | 0 | Original | 891.5476
| Ensuite | Loc1 | ModernxK1x600x600 | ModernxK1x900x600 | 0 | 95 | Moved:Main bed:Loc1 | 376.9406
| Bath | Loc1 | ModernxK1x900x700 | ModernxK2x1000x600 | 99.65 | 95 | Replaced | 740.2054
44 | Room Name | Location name | Originally | Proposed Radiator | £ | Labour Cost | Status | Watts
| Lounge | Loc1 | ModernxK2x900x600 | ModernxK2x900x600 | 0 | 0 | Original | 633.1507
| Lounge | Loc2 | ModernxK2x900x600 | ModernxK2x2000x700 | 379.84 | 95 | Replaced | 1592.8269
| Dining | Loc1 | ModernxK2x1200x600 | ModernxK2x1600x600 | 176.02 | 95 | Replaced | 1125.3757
| Kitchen | Loc1 | ModernxK2x1200x600 | ModernxK2x1200x600 | 0 | 0 | Original | 977.8899
| Hall | Loc1 | ModernxK2x1000x600 | ModernxK2x1000x600 | 0 | 0 | Original | 815.0651
| Hall | Loc2 | ModernxK1x600x700 | 0 | 0 | 0 | Removed | 0
| Utility | Loc1 | ModernxK1x600x700 | ModernxK1x600x700 | 0 | 0 | Original | 315.2966
| Main bed | Loc1 | ModernxK1x900x600 | ModernxK2x900x600 | 93.42 | 95 | Replaced | 733.6528
| Bed N | Loc1 | ModernxK1x800x600 | ModernxK1x800x600 | 0 | 0 | Original | 368.944
| Bed NW | Loc1 | ModernxK2x700x600 | ModernxK2x1200x600 | 0 | 95 | Moved:Dining:Loc1 | 800.3117
| Bed SW | Loc1 | ModernxK2x1000x600 | ModernxK2x1000x600 | 0 | 0 | Original | 815.0651
| Ensuite | Loc1 | ModernxK1x600x600 | ModernxK2x700x600 | 0 | 95 | Moved:Bed NW:Loc1 | 466.7843
| Bath | Loc1 | ModernxK1x900x700 | ModernxK3x900x500 | 190 | 95 | Replaced | 712.5008
42 | Room Name | Location name | Originally | Proposed Radiator | £ | Labour Cost | Status | Watts
| Lounge | Loc1 | ModernxK2x900x600 | ModernxK2x1800x600 | 198.04 | 95 | Replaced | 1136.217
| Lounge | Loc2 | ModernxK2x900x600 | ModernxK2x1800x600 | 198.04 | 95 | Replaced | 1136.217
| Dining | Loc1 | ModernxK2x1200x600 | ModernxK3x1200x600 | 283 | 95 | Replaced | 1044.7512
| Kitchen | Loc1 | ModernxK2x1200x600 | ModernxK2x1200x600 | 0 | 0 | Original | 888.0755
| Hall | Loc1 | ModernxK2x1000x600 | ModernxK2x1000x600 | 0 | 0 | Original | 740.2054
| Hall | Loc2 | ModernxK1x600x700 | 0 | 0 | 0 | Removed | 0
| Utility | Loc1 | ModernxK1x600x700 | ModernxK1x600x700 | 0 | 0 | Original | 286.3381
| Main bed | Loc1 | ModernxK1x900x600 | ModernxK2x1000x600 | 99.65 | 95 | Replaced | 740.2054
| Bed N | Loc1 | ModernxK1x800x600 | ModernxK1x800x600 | 0 | 0 | Original | 335.0583
| Bed NW | Loc1 | ModernxK2x700x600 | ModernxK2x1000x600 | 99.65 | 95 | Replaced | 740.2054
| Bed SW | Loc1 | ModernxK2x1000x600 | ModernxK2x1000x600 | 0 | 0 | Original | 740.2054
| Ensuite | Loc1 | ModernxK1x600x600 | ModernxK2x700x600 | 0 | 95 | Moved:Bed NW:Loc1 | 416.8608
| Bath | Loc1 | ModernxK1x900x700 | ModernxK3x1000x500 | 203 | 95 | Replaced | 707.1501
40 | Room Name | Location name | Originally | Proposed Radiator | £ | Labour Cost | Status | Watts
| Lounge | Loc1 | ModernxK2x900x600 | ModernxK2x1800x600 | 198.04 | 95 | Replaced | 1009.4857
| Lounge | Loc2 | ModernxK2x900x600 | ModernxK2x1800x700 | 328.68 | 95 | Replaced | 1142.8751
| Dining | Loc1 | ModernxK2x1200x600 | ModernxK2x1600x700 | 292.18 | 95 | Replaced | 1015.961
| Kitchen | Loc1 | ModernxK2x1200x600 | ModernxK2x1400x600 | 154.06 | 95 | Replaced | 933.9537
| Hall | Loc1 | ModernxK2x1000x600 | ModernxK2x1000x600 | 0 | 0 | Original | 667.0548
| Hall | Loc2 | ModernxK1x600x700 | 0 | 0 | 0 | Removed | 0
| Utility | Loc1 | ModernxK1x600x700 | ModernxK1x600x700 | 0 | 0 | Original | 258.0408
| Main bed | Loc1 | ModernxK1x900x600 | ModernxK3x900x500 | 190 | 95 | Replaced | 712.5008
| Bed N | Loc1 | ModernxK1x800x600 | ModernxK1x800x600 | 0 | 0 | Original | 301.9463
| Bed NW | Loc1 | ModernxK2x700x600 | ModernxK2x1100x600 | 109.61 | 95 | Replaced | 733.6832
| Bed SW | Loc1 | ModernxK2x1000x600 | ModernxK2x1100x600 | 109.61 | 95 | Replaced | 733.6832
| Ensuite | Loc1 | ModernxK1x600x600 | ModernxK2x700x600 | 0 | 95 | Moved:Bed NW:Loc1 | 368.2821
| Bath | Loc1 | ModernxK1x900x700 | ModernxK3x1000x600 | 236 | 95 | Replaced | 725.929
38 | Room Name | Location name | Originally | Proposed Radiator | £ | Labour Cost | Status | Watts
| Lounge | Loc1 | ModernxK2x900x600 | ModernxK3x1800x600 | 469 | 95 | Replaced | 1222.3262
| Lounge | Loc2 | ModernxK2x900x600 | ModernxK2x2000x600 | 303.12 | 95 | Replaced | 984.6833
| Dining | Loc1 | ModernxK2x1200x600 | ModernxK3x1600x600 | 417 | 95 | Replaced | 1086.449
| Kitchen | Loc1 | ModernxK2x1200x600 | ModernxK2x1600x600 | 176.02 | 95 | Replaced | 953.0705
| Hall | Loc1 | ModernxK2x1000x600 | ModernxK2x1000x600 | 0 | 0 | Original | 595.712
| Hall | Loc2 | ModernxK1x600x700 | 0 | 0 | 0 | Removed | 0
| Utility | Loc1 | ModernxK1x600x700 | ModernxK1x600x700 | 0 | 0 | Original | 230.4429
| Main bed | Loc1 | ModernxK1x900x600 | ModernxK3x1000x500 | 203 | 95 | Replaced | 707.1501
| Bed N | Loc1 | ModernxK1x800x600 | ModernxK2x700x600 | 0 | 95 | Moved:Bed NW:Loc1 | 321.1411
| Bed NW | Loc1 | ModernxK2x700x600 | ModernxK2x1200x600 | 119.57 | 95 | Replaced | 714.7169
| Bed SW | Loc1 | ModernxK2x1000x600 | ModernxK2x1200x600 | 119.57 | 95 | Replaced | 714.7169
| Ensuite | Loc1 | ModernxK1x600x600 | ModernxK2x900x600 | 0 | 95 | Moved:Lounge:Loc1 | 413.0849
| Bath | Loc1 | ModernxK1x900x700 | ModernxK3x1000x600 | 236 | 95 | Replaced | 633.0083
36 | Room Name | Location name | Originally | Proposed Radiator | £ | Labour Cost | Status | Watts
| Lounge | Loc1 | ModernxK2x900x600 | ModernxK3x1400x600 | 365 | 95 | Replaced | 822.8463
| Lounge | Loc2 | ModernxK2x900x600 | ModernxK3x2000x700 | 743 | 95 | Replaced | 1334.2656
| Dining | Loc1 | ModernxK2x1200x600 | ModernxK3x1600x700 | 571 | 95 | Replaced | 1067.3632
| Kitchen | Loc1 | ModernxK2x1200x600 | ModernxK2x1600x700 | 292.18 | 95 | Replaced | 953.5225
| Hall | Loc1 | ModernxK2x1000x600 | ModernxK2x1000x600 | 0 | 0 | Original | 526.2909
| Hall | Loc2 | ModernxK1x600x700 | ModernxK1x600x700 | 0 | 0 | Original | 203.5883
| Utility | Loc1 | ModernxK1x600x700 | ModernxK1x600x700 | 0 | 0 | Original | 203.5883
| Main bed | Loc1 | ModernxK1x900x600 | ModernxK3x1000x600 | 236 | 95 | Replaced | 725.929
| Bed N | Loc1 | ModernxK1x800x600 | ModernxK2x900x600 | 0 | 95 | Moved:Lounge:Loc1 | 354.4387
| Bed NW | Loc1 | ModernxK2x700x600 | ModernxK2x1400x600 | 154.06 | 95 | Replaced | 736.8681
| Bed SW | Loc1 | ModernxK2x1000x600 | ModernxK2x1400x600 | 154.06 | 95 | Replaced | 736.8681
| Ensuite | Loc1 | ModernxK1x600x600 | ModernxK2x1000x600 | 0 | 95 | Moved:Bed SW:Loc1 | 393.7702
| Bath | Loc1 | ModernxK1x900x700 | ModernxK3x1000x600 | 236 | 95 | Replaced | 543.1392

## Rooms
Room Name | Heat Loss | Room Temperature | Room | 65 | 50 | 48 | 46 | 44 | 42 | 40 | 38 | 36 | Room | 65 | 50 | 48 | 46 | 44 | 42 | 40 | 38 | 36 | Room | 65 | 50 | 48 | 46 | 44 | 42 | 40 | 38 | 36
Lounge | 2151 | 21 | Lounge | 2797.6945 | 2325.9324 | 2303.6885 | 2254.6289 | 2225.9777 | 2272.434 | 2152.3609 | 2207.0095 | 2157.1118 | Lounge | 130.1% | 108.1% | 107.1% | 104.8% | 103.5% | 105.6% | 100.1% | 102.6% | 100.3% | Lounge | 0 | 271.02 | 293.04 | 398.12 | 474.84 | 586.08 | 716.72 | 962.12 | 1298
Dining | 1014 | 21 | Dining | 1864.5315 | 1116.2327 | 1023.5332 | 1088.488 | 1125.3757 | 1044.7512 | 1015.961 | 1086.449 | 1067.3632 | Dining | 183.9% | 110.1% | 100.9% | 107.3% | 111% | 103% | 100.2% | 107.1% | 105.3% | Dining | 0 | 0 | 0 | 249.06 | 271.02 | 378 | 387.18 | 512 | 666
Kitchen | 886 | 18 | Kitchen | 2024.1348 | 1258.6562 | 1163.2673 | 1069.6512 | 977.8899 | 888.0755 | 933.9537 | 953.0705 | 953.5225 | Kitchen | 228.5% | 142.1% | 131.3% | 120.7% | 110.4% | 100.2% | 105.4% | 107.6% | 107.6% | Kitchen | 0 | 0 | 0 | 0 | 0 | 0 | 249.06 | 271.02 | 387.18
Hall | 564 | 18 | Hall | 652.6325 | 1049.0821 | 969.576 | 891.5476 | 815.0651 | 740.2054 | 667.0548 | 595.712 | 729.8792 | Hall | 115.7% | 186% | 171.9% | 158.1% | 144.5% | 131.2% | 118.3% | 105.6% | 129.4% | Hall | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility | 115 | 18 | Utility | 652.6325 | 405.8227 | 375.0669 | 344.8827 | 315.2966 | 286.3381 | 258.0408 | 230.4429 | 203.5883 | Utility | 567.5% | 352.9% | 326.1% | 299.9% | 274.2% | 249% | 224.4% | 200.4% | 177% | Utility | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Main bed | 684 | 18 | Main bed | 859.1371 | 734.1152 | 690.7949 | 713.4439 | 733.6528 | 740.2054 | 712.5008 | 707.1501 | 725.929 | Main bed | 125.6% | 107.3% | 101% | 104.3% | 107.3% | 108.2% | 104.2% | 103.4% | 106.1% | Main bed | 0 | 176.84 | 180.67 | 181.36 | 188.42 | 194.65 | 285 | 298 | 331
Bed N | 271 | 18 | Bed N | 763.6774 | 474.8732 | 438.8843 | 403.5643 | 368.944 | 335.0583 | 301.9463 | 321.1411 | 354.4387 | Bed N | 281.8% | 175.2% | 161.9% | 148.9% | 136.1% | 123.6% | 111.4% | 118.5% | 130.8% | Bed N | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95 | 95
Bed NW | 695 | 18 | Bed NW | 1180.583 | 734.1152 | 775.8847 | 888.0755 | 800.3117 | 740.2054 | 733.6832 | 714.7169 | 736.8681 | Bed NW | 169.9% | 105.6% | 111.6% | 127.8% | 115.2% | 106.5% | 105.6% | 102.8% | 106% | Bed NW | 0 | 0 | 181.36 | 95 | 95 | 194.65 | 204.61 | 214.57 | 249.06
Bed SW | 694 | 18 | Bed SW | 1687.1037 | 1049.0821 | 969.576 | 891.5476 | 815.0651 | 740.2054 | 733.6832 | 714.7169 | 736.8681 | Bed SW | 243.1% | 151.2% | 139.7% | 128.5% | 117.4% | 106.7% | 105.7% | 103% | 106.2% | Bed SW | 0 | 0 | 0 | 0 | 0 | 0 | 204.61 | 214.57 | 249.06
Ensuite | 362 | 22 | Ensuite | 512.7346 | 454.0098 | 415.062 | 376.9406 | 466.7843 | 416.8608 | 368.2821 | 413.0849 | 393.7702 | Ensuite | 141.6% | 125.4% | 114.7% | 104.1% | 128.9% | 115.2% | 101.7% | 114.1% | 108.8% | Ensuite | 0 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95
Bath | 704 | 22 | Bath | 876.3575 | 802.4957 | 733.6528 | 740.2054 | 712.5008 | 707.1501 | 725.929 | 633.0083 | 543.1392 | Bath | 124.5% | 114% | 104.2% | 105.1% | 101.2% | 100.4% | 103.1% | 89.92% | 77.15% | Bath | 0 | 95 | 95 | 194.65 | 285 | 298 | 331 | 331 | 331
|  |  | Row offset | 7 | 32 | 57 | 82 | 107 | 132 | 157 | 182 | 207

## Calcs
Total Heat Loss | 8140 | W
Average temperature | 19.6903 | C
Annual | 17858.9505 | kWh
Tariff | 0.24 | £/kWh

## Examples
150
7.9688

## Design
Suggested upgrades at each flow temperature
Room | Room Heat Loss at -2C | Set Temperature | 55 | 50 | 45 | 40 | 35
Hall | 300W | 18C | R: K2x600x600, R: K1x600x600 | R:K2x600x600, >:K2x1000x600 | R:K2x600x600, >:K2x1000x600 | R:K2x600x600, >:K2x1000x600 | +:K3x600x600, >:K2x1000x600
Lounge | 2000W | 21C | R: K2x1000x600, R: K2x1000x600 | R: K2x1000x600, +: K2x1000x600 | R: K2x1000x600, +: K2x1000x600 | R: K2x1000x600, +: K2x1000x600 | R: K2x1000x600, +: K2x1000x600
Kitchen | 1500W | 18C | R: K3x1400x600 | R: K3x1400x600 | >:K3x1600x600 | >:K3x1600x600 | >:K3x1600x600
Dining | 1200W | 18C | R: K2x1200x600 | R: K2x1200x600 | <: K2x1200x600 | <: K2x1200x600 | <: K2x1200x600
Utility | 300W | 18C | R: K2x400x600 | R: K2x400x600 | R: K2x400x600 | +: K2x600x600 | +: K2x600x600
Main bed | 500W | 18C | R: K2x1200x600 | R: K2x1200x600 | R: K2x1200x600 | <: K2x1200x600 | <: K2x1200x600
Bed 2 | 400W | 18C | R: K2x1200x600 | R: K2x1200x600 | R: K2x1200x600 | R: K2x1200x600 | +: K2x1200x600
Bed 3 | 300W | 18C | R: K2x600x600 | R: K2x600x600 | R: K2x600x600 | +: K2x800x600 | +: K2x800x600
Bed 4 | 300W | 18C | R: K2x600x600 | R: K2x600x600 | R: K2x600x600 | R: K2x600x600 | R: K2x600x600
Bath | 400W | 22C | R: K2x800x600 | R: TheoDesigner2x1700x550 | R: TheoDesigner2x1700x550 | R: TheoDesigner2x1700x550 | R: TheoDesigner2x1700x550
Ensuite | 400W | 22C | R: TheoDesigner2x1700x550 | R: TheoDesigner2x1700x550 | R: TheoDesigner2x1700x550 | R: TheoDesigner2x1700x550 | R: TheoDesigner2x1700x550
Radiator cost |  |  | 0 | 500 | 800 | 1200 | 1500
Labour cost |  |  |  | 150 | 300 | 400 | 450
Total cost |  |  |  | 650 | 1100 | 1600 | 1950
Efficiency (SCOP) |  |  | 3.42 | 3.78 | 4.14 | 4.49 | 4.84
Annual Costs |  |  | 1169.5906 | 1058.2011 | 966.1836 | 890.8686 | 826.4463
Saving |  |  |  | 111.3896 | 203.4071 | 278.722 | 343.1444
Payback (years) |  |  |  | 5.8354 | 5.4079 | 5.7405 | 5.6827
Key
R: | Retain existing
+ | a new additional radiator (in addition to existing radiators)
> | a new replacement radiator (existing radiator removed)
< | A replacement radiator moved from one replaced elsewhere in home
^ | An additional radiator moved from one replaced elsewhere in home

## Tabular
| K1 | K1 | K1 | K1 | P+ | P+ | K2 | K2 | K2 | K2 | K3 | K3 | K3 | K3
Watts | 300 | 450 | 600 | 700 | 300 | 700 | 300 | 450 | 600 | 700 | 300 | 450 | 600 | 700
| K1x300 | K1x450 | K1x600 | K1x700 | P+x300 | P+x700 | K2x300 | K2x450 | K2x600 | K2x700 | K3x300 | K3x450 | K3x600 | K3x700
300
400
500
600
700
800
900
1000
1100
1200
1400
1600
1800
2000
2200
2400
2600
2800
3000
| K1 | K1 | K1 | K1 | P+ | P+ | K2 | K2 | K2 | K2 | K3 | K3 | K3 | K3
£ | 300 | 450 | 600 | 700 | 300 | 700 | 300 | 450 | 600 | 700 | 300 | 450 | 600 | 700
| K1x300 | K1x450 | K1x600 | K1x700 | P+x300 | P+x700 | K2x300 | K2x450 | K2x600 | K2x700 | K3x300 | K3x450 | K3x600 | K3x700
300
400
500
600
700
800
900
1000
1100
1200
1400
1600
1800
2000
2200
2400
2600
2800
3000
| K1 | K1 | K1 | K1 | P+ | P+ | K2 | K2 | K2 | K2 | K3 | K3 | K3 | K3
W/£ | 300 | 450 | 600 | 700 | 300 | 700 | 300 | 450 | 600 | 700 | 300 | 450 | 600 | 700
| K1x300 | K1x450 | K1x600 | K1x700 | P+x300 | P+x700 | K2x300 | K2x450 | K2x600 | K2x700 | K3x300 | K3x450 | K3x600 | K3x700
300
400
500
600
700
800
900
1000
1100
1200
1400
1600
1800
2000
2200
2400
2600
2800
3000

## Form
Room Name | Length | Height | Type | Max Subtype | Existing Radiator | Condition
Lounge | 1500 | 600 | Modern | K2 | ModernxK2x600x450 | Good
Lounge
Lounge
Dining